## Data Entry
| Lab #: | L12
Note: You have not entered any data for this sample yet. The following rows were loaded from your list of default analytes/methods.
Analyte, Method Description | Method Code | Method Name | Result | Units | Average | St. Desv. | Z Score
Total Nitrogen, Combustion | 010.60 | Kjeldahl | 2.5 | % | 2.6371 | 1.1308 | -0.12126
Total Phosphorus as P2O5, ICP | 020.50 | PPLOWCBL | 4 | % | 2.3206 | 1.2156 | 1.3816
Soluble Potassium as K2O, Other
Acid Soluble Calcium, ICP, test portion 2006.03A-C, w/dual acid
Acid Soluble Magnesium, ICP, test portion 2006.03A-C, w/dual acid
Total Sulfur, ICP, test portion as in 2006.03 modified w/9:3 HNO3:HCl
Acid Soluble Boron , Other
Acid Soluble Copper , ICP, test portion 2006.03A-C, w/dual acid
Acid Soluble Iron , ICP, test portion 2006.03A-C, w/dual acid
Acid Soluble Manganese , ICP, test portion 2006.03A-C, w/dual acid
Acid Soluble Zinc , ICP, test portion 2006.03A-C, w/dual acid

## Nitrogen
Results of Analysis
Analyte: | Total Nitrogen, Combustion
Laboratory: | L12
Due Date: | 7/15/2017
Method Used: | 010.60 Kjeldahl
Result Reported: | 2.5
Z-Score: | -0.12126 | Satisfactory
Ranking Position: | 1 of 16

## Phosphorus
Results of Analysis
Analyte: | Total Phosphorus as P2O5, ICP
Laboratory: | L12
Due Date: | 7/15/2017
Method Used: | 020.50 PPLOWCBL
Result Reported: | 4
Z-Score: | 1.3816 | Satisfactory
Ranking Position: | 14 of 16

## Setup
Method | Units | Name |  | Laboratory | Name | Analyte
010.60 | % | Kjeldahl |  | L1 |  | Total Nitrogen, Combustion
020.50 | % | PPLOWCBL |  | L2 |  | Total Phosphorus as P2O5, ICP
050.99 | % | Kjendahl |  | L3 |  | Soluble Potassium as K2O, Other
101.33 | % | Kjendahl |  | L4 |  | Acid Soluble Calcium, ICP, test portion 2006.03A-C, w/dual acid
|  |  |  | L5 |  | Acid Soluble Magnesium, ICP, test portion 2006.03A-C, w/dual acid
|  |  |  | L6 |  | Total Sulfur, ICP, test portion as in 2006.03 modified w/9:3 HNO3:HCl
|  |  |  | L7 |  | Acid Soluble Boron , Other
|  |  |  | L8 |  | Acid Soluble Copper , ICP, test portion 2006.03A-C, w/dual acid
|  |  |  | L9 |  | Acid Soluble Iron , ICP, test portion 2006.03A-C, w/dual acid
|  |  |  | L10 |  | Acid Soluble Manganese , ICP, test portion 2006.03A-C, w/dual acid
|  |  |  | L11 |  | Acid Soluble Zinc , ICP, test portion 2006.03A-C, w/dual acid
L12
L13
L14
L15
L16
Analito | Metodo | Laboratorio | Result | z-score | media | -d3 | -d2 | d2 | d3 | error | Promedio | Normal Distr | ABS Z SCORE | Columna1 | KESIMO MENOR | Position | Lab
Total Nitrogen, Combustion | kjendahl | L1 | 0.56 | -1.8368 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -2.0771 | 0.56 | 0.065294 | 1.8368 | L1 | 0.12126 | 1 | L12
Total Nitrogen, Combustion | kjendahl | L2 | 1.1 | -1.3593 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -1.5371 | 1.1 | 0.14005 | 1.3593 | L2 | 0.12635 | 2 | L9
Total Nitrogen, Combustion | kjendahl | L3 | 1.36 | -1.1294 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -1.2771 | 1.36 | 0.18644 | 1.1294 | L3 | 0.14779 | 3 | L8
Total Nitrogen, Combustion | kjendahl | L4 | 2 | -0.56342 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -0.63713 | 2 | 0.30101 | 0.56342 | L4 | 0.3209 | 4 | L10
Total Nitrogen, Combustion | kjendahl | L5 | 2.25 | -0.34234 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -0.38713 | 2.25 | 0.33271 | 0.34234 | L5 | 0.3335 | 5 | L7
Total Nitrogen, Combustion | kjendahl | L6 | 2.254 | -0.3388 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -0.38313 | 2.254 | 0.33311 | 0.3388 | L6 | 0.3388 | 6 | L6
Total Nitrogen, Combustion | kjendahl | L7 | 2.26 | -0.3335 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -0.37713 | 2.26 | 0.33371 | 0.3335 | L7 | 0.34234 | 7 | L5
Total Nitrogen, Combustion | kjendahl | L8 | 2.47 | -0.14779 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -0.16712 | 2.47 | 0.34896 | 0.14779 | L8 | 0.54197 | 8 | L11
Total Nitrogen, Combustion | kjendahl | L9 | 2.78 | 0.12635 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | 0.14287 | 2.78 | 0.34999 | 0.12635 | L9 | 0.56342 | 9 | L4
Total Nitrogen, Combustion | kjendahl | L10 | 3 | 0.3209 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | 0.36287 | 3 | 0.33509 | 0.3209 | L10 | 0.62156 | 10 | L13
Total Nitrogen, Combustion | kjendahl | L11 | 3.25 | 0.54197 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | 0.61287 | 3.25 | 0.3046 | 0.54197 | L11 | 1.1294 | 11 | L3
Total Nitrogen, Combustion | kjendahl | L12 | 2.5 | -0.12126 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -0.13713 | 3.27 | 0.35021 | 0.12126 | L12 | 1.3467 | 12 | L14
Total Nitrogen, Combustion | kjendahl | L13 | 3.34 | 0.62156 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | 0.70287 | 3.34 | 0.29082 | 0.62156 | L13 | 1.3593 | 13 | L2
Total Nitrogen, Combustion | kjendahl | L14 | 4.16 | 1.3467 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | 1.5229 | 4.16 | 0.14246 | 1.3467 | L14 | 1.497 | 14 | L15
Total Nitrogen, Combustion | kjendahl | L15 | 4.33 | 1.497 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | 1.6929 | 4.33 | 0.11504 | 1.497 | L15 | 1.7181 | 15 | L16
Total Nitrogen, Combustion | kjendahl | L16 | 4.58 | 1.7181 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | 1.9429 | 4.58 | 0.080634 | 1.7181 | L16 | 1.8368 | 16 | L1
| Media | 2.6371
| Standard Desviation | 1.1308
| d2 | 2.2616 | -2.2616
| d3 | 3.3925 | -3.3925
| Current Position | 16
| Total values | 17
Orden | Laboratory | Result | z-score | media | -d3 | -d2 | d2 | d3 | error | Promedio | Normal Distr | ABS Z SCORE | Average Ordered | ND Ordered
1 | L12 | 2.5 | -0.12126 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -0.13713 | 3.27 | 0.35021 | 0.12126 | 0.56 | 0.065294
2 | L9 | 2.78 | 0.12635 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | 0.14287 | 2.78 | 0.34999 | 0.12635 | 1.1 | 0.14005
3 | L8 | 2.47 | -0.14779 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -0.16712 | 2.47 | 0.34896 | 0.14779 | 1.36 | 0.18644
4 | L10 | 3 | 0.3209 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | 0.36287 | 3 | 0.33509 | 0.3209 | 2 | 0.30101
5 | L7 | 2.26 | -0.3335 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -0.37713 | 2.26 | 0.33371 | 0.3335 | 2.25 | 0.33271
6 | L6 | 2.254 | -0.3388 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -0.38313 | 2.254 | 0.33311 | 0.3388 | 2.254 | 0.33311
7 | L5 | 2.25 | -0.34234 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -0.38713 | 2.25 | 0.33271 | 0.34234 | 2.26 | 0.33371
8 | L11 | 3.25 | 0.54197 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | 0.61287 | 3.25 | 0.3046 | 0.54197 | 2.47 | 0.34896
9 | L4 | 2 | -0.56342 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -0.63713 | 2 | 0.30101 | 0.56342 | 2.5 | 0.35021
10 | L13 | 3.34 | 0.62156 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | 0.70287 | 3.34 | 0.29082 | 0.62156 | 2.78 | 0.34999
11 | L3 | 1.36 | -1.1294 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -1.2771 | 1.36 | 0.18644 | 1.1294 | 3 | 0.33509
12 | L14 | 4.16 | 1.3467 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | 1.5229 | 4.16 | 0.14246 | 1.3467 | 3.25 | 0.3046
13 | L2 | 1.1 | -1.3593 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -1.5371 | 1.1 | 0.14005 | 1.3593 | 3.34 | 0.29082
14 | L15 | 4.33 | 1.497 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | 1.6929 | 4.33 | 0.11504 | 1.497 | 4.16 | 0.14246
15 | L16 | 4.58 | 1.7181 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | 1.9429 | 4.58 | 0.080634 | 1.7181 | 4.33 | 0.11504
16 | L1 | 0.56 | -1.8368 | 2.6371 | -0.75533 | 0.37549 | 4.8988 | 6.0296 | -2.0771 | 0.56 | 0.065294 | 1.8368 | 4.58 | 0.080634
| Norma | 2.5
| DEV | 1
Analito | Metodo | Laboratorio | Result | z-score | media | -d3 | -d2 | d2 | d3 | error | Promedio | Normal Distr | ABS Z SCORE | Columna1 | KESIMO MENOR | Position | Lab
Total Nitrogen, Combustion | kjendahl | L1 | 2.68 | 0.29565 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 0.35938 | 2.68 | 0.31416 | 0.29565 | L1 | 0.032393 | 1 | L11
Total Nitrogen, Combustion | kjendahl | L2 | 2.72 | 0.32855 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 0.39938 | 2.72 | 0.31095 | 0.32855 | L2 | 0.081753 | 2 | L3
Total Nitrogen, Combustion | kjendahl | L3 | 2.42 | 0.081753 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 0.099375 | 2.42 | 0.3271 | 0.081753 | L3 | 0.28845 | 3 | L5
Total Nitrogen, Combustion | kjendahl | L4 | 2.82 | 0.41082 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 0.49937 | 2.82 | 0.30164 | 0.41082 | L4 | 0.29565 | 4 | L1
Total Nitrogen, Combustion | kjendahl | L5 | 1.97 | -0.28845 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | -0.35063 | 1.97 | 0.31483 | 0.28845 | L5 | 0.3121 | 5 | L6
Total Nitrogen, Combustion | kjendahl | L6 | 2.7 | 0.3121 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 0.37938 | 2.7 | 0.3126 | 0.3121 | L6 | 0.32855 | 6 | L2
Total Nitrogen, Combustion | kjendahl | L7 | 1.14 | -0.97127 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | -1.1806 | 1.14 | 0.20478 | 0.97127 | L7 | 0.41082 | 7 | L4
Total Nitrogen, Combustion | kjendahl | L8 | -0.53 | -2.3451 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | -2.8506 | -0.53 | 0.020985 | 2.3451 | L8 | 0.58461 | 8 | L9
Total Nitrogen, Combustion | kjendahl | L9 | 1.61 | -0.58461 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | -0.71063 | 1.61 | 0.27664 | 0.58461 | L9 | 0.78925 | 9 | L13
Total Nitrogen, Combustion | kjendahl | L10 | 1.34 | -0.80673 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | -0.98063 | 1.34 | 0.23704 | 0.80673 | L10 | 0.80673 | 10 | L10
Total Nitrogen, Combustion | kjendahl | L11 | 2.36 | 0.032393 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 0.039375 | 2.36 | 0.32803 | 0.032393 | L11 | 0.97127 | 11 | L7
Total Nitrogen, Combustion | kjendahl | L12 | 4 | 1.3816 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 1.6794 | 3.51 | 0.12637 | 1.3816 | L12 | 1.069 | 12 | L15
Total Nitrogen, Combustion | kjendahl | L13 | 3.28 | 0.78925 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 0.95937 | 3.28 | 0.24037 | 0.78925 | L13 | 1.1358 | 13 | L16
Total Nitrogen, Combustion | kjendahl | L14 | 4.06 | 1.4309 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 1.7394 | 4.06 | 0.1179 | 1.4309 | L14 | 1.3816 | 14 | L12
Total Nitrogen, Combustion | kjendahl | L15 | 3.62 | 1.069 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 1.2994 | 3.62 | 0.18536 | 1.069 | L15 | 1.4309 | 15 | L14
Total Nitrogen, Combustion | kjendahl | L16 | 0.94 | -1.1358 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | -1.3806 | 0.94 | 0.17219 | 1.1358 | L16 | 2.3451 | 16 | L8
| Media | 2.3206
| Standard Desviation | 1.2156
| d2 | 2.4311 | -2.4311
| d3 | 3.6467 | -3.6467
| Current Position | 3
| Total values | 17
Orden | Laboratory | Result | z-score | media | -d3 | -d2 | d2 | d3 | error | Promedio | Normal Distr | ABS Z SCORE | Average Ordered | ND Ordered
1 | L11 | 2.36 | 0.032393 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 0.039375 | 3.25 | 0.32803 | 0.032393 | -0.53 | 0.020985
2 | L3 | 2.42 | 0.081753 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 0.099375 | 1.36 | 0.3271 | 0.081753 | 0.94 | 0.17219
3 | L5 | 1.97 | -0.28845 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | -0.35063 | 2.25 | 0.31483 | 0.28845 | 1.14 | 0.20478
4 | L1 | 2.68 | 0.29565 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 0.35938 | 0.56 | 0.31416 | 0.29565 | 1.34 | 0.23704
5 | L6 | 2.7 | 0.3121 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 0.37938 | 2.254 | 0.3126 | 0.3121 | 1.61 | 0.27664
6 | L2 | 2.72 | 0.32855 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 0.39938 | 1.1 | 0.31095 | 0.32855 | 1.97 | 0.31483
7 | L4 | 2.82 | 0.41082 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 0.49937 | 2 | 0.30164 | 0.41082 | 2.36 | 0.32803
8 | L9 | 1.61 | -0.58461 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | -0.71063 | 2.78 | 0.27664 | 0.58461 | 2.42 | 0.3271
9 | L13 | 3.28 | 0.78925 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 0.95937 | 3.34 | 0.24037 | 0.78925 | 2.68 | 0.31416
10 | L10 | 1.34 | -0.80673 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | -0.98063 | 3 | 0.23704 | 0.80673 | 2.7 | 0.3126
11 | L7 | 1.14 | -0.97127 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | -1.1806 | 2.26 | 0.20478 | 0.97127 | 2.72 | 0.31095
12 | L15 | 3.62 | 1.069 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 1.2994 | 4.33 | 0.18536 | 1.069 | 2.82 | 0.30164
13 | L16 | 0.94 | -1.1358 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | -1.3806 | 4.58 | 0.17219 | 1.1358 | 3.28 | 0.24037
14 | L12 | 4 | 1.3816 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 1.6794 | 3.27 | 0.12637 | 1.3816 | 3.62 | 0.18536
15 | L14 | 4.06 | 1.4309 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | 1.7394 | 4.16 | 0.1179 | 1.4309 | 4 | 0.12637
16 | L8 | -0.53 | -2.3451 | 2.3206 | -1.326 | -0.11048 | 4.7517 | 5.9673 | -2.8506 | 2.47 | 0.020985 | 2.3451 | 4.06 | 0.1179
Note on L73: Veda Obando: =REDONDEAR(DISTR.NORM.INV(ALEATORIO();$C$70;$C$71);2)

## Hoja1 (hidden)
|  |  | Media | Desviaio | Z score
| L16 | 10 | 3.024 | 2.123 | 3.286
Analito | Metodo | Promedio | Laboratorio | z-score | media | -d3 | -d2 | d2 | d3 | error | Promedio
Nitrogeno | kjendahl | 0.56 | L1 | -1.1606 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -2.464 | 0.56
Nitrogeno | kjendahl | 1.1 | L2 | -0.90628 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -1.924 | 1.1
Nitrogeno | kjendahl | 1.36 | L3 | -0.78381 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -1.664 | 1.36
Nitrogeno | kjendahl | 2 | L4 | -0.48234 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -1.024 | 2
Nitrogeno | kjendahl | 2.25 | L5 | -0.36458 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -0.774 | 2.25
Nitrogeno | kjendahl | 2.254 | L6 | -0.3627 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -0.77 | 2.254
Nitrogeno | kjendahl | 2.26 | L7 | -0.35987 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -0.764 | 2.26
Nitrogeno | kjendahl | 2.47 | L8 | -0.26095 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -0.554 | 2.47
Nitrogeno | kjendahl | 2.78 | L9 | -0.11493 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -0.244 | 2.78
Nitrogeno | kjendahl | 3 | L10 | -0.011305 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -0.024 | 3
Nitrogeno | kjendahl | 3.25 | L11 | 0.10645 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | 0.226 | 3.25
Nitrogeno | kjendahl | 3.27 | L12 | 0.11588 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | 0.246 | 3.27
Nitrogeno | kjendahl | 3.34 | L13 | 0.14885 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | 0.316 | 3.34
Nitrogeno | kjendahl | 4.16 | L14 | 0.5351 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | 1.136 | 4.16
Nitrogeno | kjendahl | 4.33 | L15 | 0.61517 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | 1.306 | 4.33
Nitrogeno | kjendahl | 10 | L16 | 3.286 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | 6.976 | 4.58
| media | 3.024
| desviacion estandar | 2.123
| d2 | 4.246 | -4.246
| d3 | 6.3689 | -6.3689

## Hoja3 (hidden)
valor | distr | media | 2.6852
0.56 | 0.061688 | desviacion | 1.1409
1.1 | 0.13318
1.36 | 0.1781
2 | 0.29196
2.25 | 0.32512
2.254 | 0.32556
2.26 | 0.3262
2.47 | 0.3435
2.78 | 0.34846
3 | 0.33661
3.25 | 0.30935
3.27 | 0.30663
3.34 | 0.29658
4.16 | 0.15165
4.33 | 0.1237
4.58 | 0.088059