## Data Entry
| Lab #: | L12
Note: You have not entered any data for this sample yet. The following rows were loaded from your list of default analytes/methods.
Analyte, Method Description | Method Code | Method Name | Result | Units | Average | St. Desv. | Z Score
Total Nitrogen, Combustion | 010.60 | Kjeldahl | 6 | % | 2.8559 | 1.4073 | 2.2342
Total Phosphorus as P2O5, ICP | 020.50 | PPLOWCBL | 9 | % | 2.6331 | 2.0395 | 3.1217
Soluble Potassium as K2O, Other
Acid Soluble Calcium, ICP, test portion 2006.03A-C, w/dual acid
Acid Soluble Magnesium, ICP, test portion 2006.03A-C, w/dual acid
Total Sulfur, ICP, test portion as in 2006.03 modified w/9:3 HNO3:HCl
Acid Soluble Boron , Other
Acid Soluble Copper , ICP, test portion 2006.03A-C, w/dual acid
Acid Soluble Iron , ICP, test portion 2006.03A-C, w/dual acid
Acid Soluble Manganese , ICP, test portion 2006.03A-C, w/dual acid
Acid Soluble Zinc , ICP, test portion 2006.03A-C, w/dual acid

## Nitrogen
Results of Analysis
Analyte: | Total Nitrogen, Combustion
Laboratory: | L12
Due Date: | 7/15/2017
Method Used: | 010.60 Kjeldahl
Result Reported: | 6
Z-Score: | 2.2342 | Questionable
Ranking Position: | 16 of 16

## Phosphorus
Results of Analysis
Analyte: | Total Phosphorus as P2O5, ICP
Laboratory: | L12
Due Date: | 7/15/2017
Method Used: | 020.50 PPLOWCBL
Result Reported: | 9
Z-Score: | 3.1217 | Unsatisfactory
Ranking Position: | 16 of 16

## Setup
Method | Units | Name |  | Laboratory | Name | Analyte
010.60 | % | Kjeldahl |  | L1 |  | Total Nitrogen, Combustion
020.50 | % | PPLOWCBL |  | L2 |  | Total Phosphorus as P2O5, ICP
050.99 | % | Kjendahl |  | L3 |  | Soluble Potassium as K2O, Other
101.33 | % | Kjendahl |  | L4 |  | Acid Soluble Calcium, ICP, test portion 2006.03A-C, w/dual acid
|  |  |  | L5 |  | Acid Soluble Magnesium, ICP, test portion 2006.03A-C, w/dual acid
|  |  |  | L6 |  | Total Sulfur, ICP, test portion as in 2006.03 modified w/9:3 HNO3:HCl
|  |  |  | L7 |  | Acid Soluble Boron , Other
|  |  |  | L8 |  | Acid Soluble Copper , ICP, test portion 2006.03A-C, w/dual acid
|  |  |  | L9 |  | Acid Soluble Iron , ICP, test portion 2006.03A-C, w/dual acid
|  |  |  | L10 |  | Acid Soluble Manganese , ICP, test portion 2006.03A-C, w/dual acid
|  |  |  | L11 |  | Acid Soluble Zinc , ICP, test portion 2006.03A-C, w/dual acid
L12
L13
L14
L15
L16
Analito | Metodo | Laboratorio | Result | z-score | media | -d3 | -d2 | d2 | d3 | error | Promedio | Normal Distr | ABS Z SCORE | Columna1 | KESIMO MENOR | Position | Lab
Total Nitrogen, Combustion | kjendahl | L1 | 0.56 | -1.6314 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -2.2959 | 0.56 | 0.074915 | 1.6314 | L1 | 0.053917 | 1 | L9
Total Nitrogen, Combustion | kjendahl | L2 | 1.1 | -1.2477 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -1.7559 | 1.1 | 0.13016 | 1.2477 | L2 | 0.10242 | 2 | L10
Total Nitrogen, Combustion | kjendahl | L3 | 1.36 | -1.063 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -1.4959 | 1.36 | 0.16113 | 1.063 | L3 | 0.2742 | 3 | L8
Total Nitrogen, Combustion | kjendahl | L4 | 2 | -0.60818 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -0.85588 | 2 | 0.23562 | 0.60818 | L4 | 0.28007 | 4 | L11
Total Nitrogen, Combustion | kjendahl | L5 | 2.25 | -0.43053 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -0.60588 | 2.25 | 0.2584 | 0.43053 | L5 | 0.34402 | 5 | L13
Total Nitrogen, Combustion | kjendahl | L6 | 2.254 | -0.42769 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -0.60188 | 2.254 | 0.25871 | 0.42769 | L6 | 0.42343 | 6 | L7
Total Nitrogen, Combustion | kjendahl | L7 | 2.26 | -0.42343 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -0.59588 | 2.26 | 0.25918 | 0.42343 | L7 | 0.42769 | 7 | L6
Total Nitrogen, Combustion | kjendahl | L8 | 2.47 | -0.2742 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -0.38587 | 2.47 | 0.27303 | 0.2742 | L8 | 0.43053 | 8 | L5
Total Nitrogen, Combustion | kjendahl | L9 | 2.78 | -0.053917 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -0.075875 | 2.78 | 0.28308 | 0.053917 | L9 | 0.60818 | 9 | L4
Total Nitrogen, Combustion | kjendahl | L10 | 3 | 0.10242 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | 0.14412 | 3 | 0.28201 | 0.10242 | L10 | 0.92671 | 10 | L14
Total Nitrogen, Combustion | kjendahl | L11 | 3.25 | 0.28007 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | 0.39412 | 3.25 | 0.27259 | 0.28007 | L11 | 1.0475 | 11 | L15
Total Nitrogen, Combustion | kjendahl | L12 | 6 | 2.2342 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | 3.1441 | 3.27 | 0.023367 | 2.2342 | L12 | 1.063 | 12 | L3
Total Nitrogen, Combustion | kjendahl | L13 | 3.34 | 0.34402 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | 0.48412 | 3.34 | 0.2672 | 0.34402 | L13 | 1.2252 | 13 | L16
Total Nitrogen, Combustion | kjendahl | L14 | 4.16 | 0.92671 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | 1.3041 | 4.16 | 0.18452 | 0.92671 | L14 | 1.2477 | 14 | L2
Total Nitrogen, Combustion | kjendahl | L15 | 4.33 | 1.0475 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | 1.4741 | 4.33 | 0.16378 | 1.0475 | L15 | 1.6314 | 15 | L1
Total Nitrogen, Combustion | kjendahl | L16 | 4.58 | 1.2252 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | 1.7241 | 4.58 | 0.13384 | 1.2252 | L16 | 2.2342 | 16 | L12
| Media | 2.8559
| Standard Desviation | 1.4073
| d2 | 2.8145 | -2.8145
| d3 | 4.2218 | -4.2218
| Current Position | 1
| Total values | 17
Orden | Laboratory | Result | z-score | media | -d3 | -d2 | d2 | d3 | error | Promedio | Normal Distr | ABS Z SCORE | Average Ordered | ND Ordered
1 | L9 | 2.78 | -0.053917 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -0.075875 | 2.78 | 0.28308 | 0.053917 | 0.56 | 0.074915
2 | L10 | 3 | 0.10242 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | 0.14412 | 3 | 0.28201 | 0.10242 | 1.1 | 0.13016
3 | L8 | 2.47 | -0.2742 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -0.38587 | 2.47 | 0.27303 | 0.2742 | 1.36 | 0.16113
4 | L11 | 3.25 | 0.28007 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | 0.39412 | 3.25 | 0.27259 | 0.28007 | 2 | 0.23562
5 | L13 | 3.34 | 0.34402 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | 0.48412 | 3.34 | 0.2672 | 0.34402 | 2.25 | 0.2584
6 | L7 | 2.26 | -0.42343 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -0.59588 | 2.26 | 0.25918 | 0.42343 | 2.254 | 0.25871
7 | L6 | 2.254 | -0.42769 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -0.60188 | 2.254 | 0.25871 | 0.42769 | 2.26 | 0.25918
8 | L5 | 2.25 | -0.43053 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -0.60588 | 2.25 | 0.2584 | 0.43053 | 2.47 | 0.27303
9 | L4 | 2 | -0.60818 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -0.85588 | 2 | 0.23562 | 0.60818 | 2.78 | 0.28308
10 | L14 | 4.16 | 0.92671 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | 1.3041 | 4.16 | 0.18452 | 0.92671 | 3 | 0.28201
11 | L15 | 4.33 | 1.0475 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | 1.4741 | 4.33 | 0.16378 | 1.0475 | 3.25 | 0.27259
12 | L3 | 1.36 | -1.063 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -1.4959 | 1.36 | 0.16113 | 1.063 | 3.34 | 0.2672
13 | L16 | 4.58 | 1.2252 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | 1.7241 | 4.58 | 0.13384 | 1.2252 | 4.16 | 0.18452
14 | L2 | 1.1 | -1.2477 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -1.7559 | 1.1 | 0.13016 | 1.2477 | 4.33 | 0.16378
15 | L1 | 0.56 | -1.6314 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | -2.2959 | 0.56 | 0.074915 | 1.6314 | 4.58 | 0.13384
16 | L12 | 6 | 2.2342 | 2.8559 | -1.3659 | 0.041352 | 5.6704 | 7.0777 | 3.1441 | 3.27 | 0.023367 | 2.2342 | 6 | 0.023367
| Norma | 2.5
| DEV | 1
Analito | Metodo | Laboratorio | Result | z-score | media | -d3 | -d2 | d2 | d3 | error | Promedio | Normal Distr | ABS Z SCORE | Columna1 | KESIMO MENOR | Position | Lab
Total Nitrogen, Combustion | kjendahl | L1 | 2.68 | 0.022983 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 0.046875 | 2.68 | 0.19555 | 0.022983 | L1 | 0.022983 | 1 | L1
Total Nitrogen, Combustion | kjendahl | L2 | 2.72 | 0.042596 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 0.086875 | 2.72 | 0.19543 | 0.042596 | L2 | 0.03279 | 2 | L6
Total Nitrogen, Combustion | kjendahl | L3 | 2.42 | -0.1045 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -0.21313 | 2.42 | 0.19454 | 0.1045 | L3 | 0.042596 | 3 | L2
Total Nitrogen, Combustion | kjendahl | L4 | 2.82 | 0.091627 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 0.18687 | 2.82 | 0.19479 | 0.091627 | L4 | 0.091627 | 4 | L4
Total Nitrogen, Combustion | kjendahl | L5 | 1.97 | -0.32514 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -0.66313 | 1.97 | 0.18554 | 0.32514 | L5 | 0.1045 | 5 | L3
Total Nitrogen, Combustion | kjendahl | L6 | 2.7 | 0.03279 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 0.066875 | 2.7 | 0.1955 | 0.03279 | L6 | 0.13392 | 6 | L11
Total Nitrogen, Combustion | kjendahl | L7 | 1.14 | -0.7321 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -1.4931 | 1.14 | 0.14962 | 0.7321 | L7 | 0.31717 | 7 | L13
Total Nitrogen, Combustion | kjendahl | L8 | -0.53 | -1.5509 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -3.1631 | -0.53 | 0.058758 | 1.5509 | L8 | 0.32514 | 8 | L5
Total Nitrogen, Combustion | kjendahl | L9 | 1.61 | -0.50165 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -1.0231 | 1.61 | 0.17248 | 0.50165 | L9 | 0.48388 | 9 | L15
Total Nitrogen, Combustion | kjendahl | L10 | 1.34 | -0.63403 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -1.2931 | 1.34 | 0.15999 | 0.63403 | L10 | 0.50165 | 10 | L9
Total Nitrogen, Combustion | kjendahl | L11 | 2.36 | -0.13392 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -0.27313 | 2.36 | 0.19386 | 0.13392 | L11 | 0.63403 | 11 | L10
Total Nitrogen, Combustion | kjendahl | L12 | 9 | 3.1217 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 6.3669 | 3.51 | 0.001497 | 3.1217 | L12 | 0.69961 | 12 | L14
Total Nitrogen, Combustion | kjendahl | L13 | 3.28 | 0.31717 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 0.64687 | 3.28 | 0.18601 | 0.31717 | L13 | 0.7321 | 13 | L7
Total Nitrogen, Combustion | kjendahl | L14 | 4.06 | 0.69961 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 1.4269 | 4.06 | 0.15314 | 0.69961 | L14 | 0.83016 | 14 | L16
Total Nitrogen, Combustion | kjendahl | L15 | 3.62 | 0.48388 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 0.98687 | 3.62 | 0.174 | 0.48388 | L15 | 1.5509 | 15 | L8
Total Nitrogen, Combustion | kjendahl | L16 | 0.94 | -0.83016 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -1.6931 | 0.94 | 0.13859 | 0.83016 | L16 | 3.1217 | 16 | L12
| Media | 2.6331
| Standard Desviation | 2.0395
| d2 | 4.079 | -4.079
| d3 | 6.1186 | -6.1186
| Current Position | 1
| Total values | 17
Orden | Laboratory | Result | z-score | media | -d3 | -d2 | d2 | d3 | error | Promedio | Normal Distr | ABS Z SCORE | Average Ordered | ND Ordered
1 | L1 | 2.68 | 0.022983 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 0.046875 | 0.56 | 0.19555 | 0.022983 | -0.53 | 0.058758
2 | L6 | 2.7 | 0.03279 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 0.066875 | 2.254 | 0.1955 | 0.03279 | 0.94 | 0.13859
3 | L2 | 2.72 | 0.042596 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 0.086875 | 1.1 | 0.19543 | 0.042596 | 1.14 | 0.14962
4 | L4 | 2.82 | 0.091627 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 0.18687 | 2 | 0.19479 | 0.091627 | 1.34 | 0.15999
5 | L3 | 2.42 | -0.1045 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -0.21313 | 1.36 | 0.19454 | 0.1045 | 1.61 | 0.17248
6 | L11 | 2.36 | -0.13392 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -0.27313 | 3.25 | 0.19386 | 0.13392 | 1.97 | 0.18554
7 | L13 | 3.28 | 0.31717 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 0.64687 | 3.34 | 0.18601 | 0.31717 | 2.36 | 0.19386
8 | L5 | 1.97 | -0.32514 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -0.66313 | 2.25 | 0.18554 | 0.32514 | 2.42 | 0.19454
9 | L15 | 3.62 | 0.48388 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 0.98687 | 4.33 | 0.174 | 0.48388 | 2.68 | 0.19555
10 | L9 | 1.61 | -0.50165 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -1.0231 | 2.78 | 0.17248 | 0.50165 | 2.7 | 0.1955
11 | L10 | 1.34 | -0.63403 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -1.2931 | 3 | 0.15999 | 0.63403 | 2.72 | 0.19543
12 | L14 | 4.06 | 0.69961 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 1.4269 | 4.16 | 0.15314 | 0.69961 | 2.82 | 0.19479
13 | L7 | 1.14 | -0.7321 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -1.4931 | 2.26 | 0.14962 | 0.7321 | 3.28 | 0.18601
14 | L16 | 0.94 | -0.83016 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -1.6931 | 4.58 | 0.13859 | 0.83016 | 3.62 | 0.174
15 | L8 | -0.53 | -1.5509 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | -3.1631 | 2.47 | 0.058758 | 1.5509 | 4.06 | 0.15314
16 | L12 | 9 | 3.1217 | 2.6331 | -3.4854 | -1.4459 | 6.7122 | 8.7517 | 6.3669 | 3.27 | 0.001497 | 3.1217 | 9 | 0.001497
Note on L73: Veda Obando: =REDONDEAR(DISTR.NORM.INV(ALEATORIO();$C$70;$C$71);2)

## Hoja1 (hidden)
|  |  | Media | Desviaio | Z score
| L16 | 10 | 3.024 | 2.123 | 3.286
Analito | Metodo | Promedio | Laboratorio | z-score | media | -d3 | -d2 | d2 | d3 | error | Promedio
Nitrogeno | kjendahl | 0.56 | L1 | -1.1606 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -2.464 | 0.56
Nitrogeno | kjendahl | 1.1 | L2 | -0.90628 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -1.924 | 1.1
Nitrogeno | kjendahl | 1.36 | L3 | -0.78381 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -1.664 | 1.36
Nitrogeno | kjendahl | 2 | L4 | -0.48234 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -1.024 | 2
Nitrogeno | kjendahl | 2.25 | L5 | -0.36458 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -0.774 | 2.25
Nitrogeno | kjendahl | 2.254 | L6 | -0.3627 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -0.77 | 2.254
Nitrogeno | kjendahl | 2.26 | L7 | -0.35987 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -0.764 | 2.26
Nitrogeno | kjendahl | 2.47 | L8 | -0.26095 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -0.554 | 2.47
Nitrogeno | kjendahl | 2.78 | L9 | -0.11493 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -0.244 | 2.78
Nitrogeno | kjendahl | 3 | L10 | -0.011305 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | -0.024 | 3
Nitrogeno | kjendahl | 3.25 | L11 | 0.10645 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | 0.226 | 3.25
Nitrogeno | kjendahl | 3.27 | L12 | 0.11588 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | 0.246 | 3.27
Nitrogeno | kjendahl | 3.34 | L13 | 0.14885 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | 0.316 | 3.34
Nitrogeno | kjendahl | 4.16 | L14 | 0.5351 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | 1.136 | 4.16
Nitrogeno | kjendahl | 4.33 | L15 | 0.61517 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | 1.306 | 4.33
Nitrogeno | kjendahl | 10 | L16 | 3.286 | 3.024 | -3.3449 | -1.222 | 7.27 | 9.3929 | 6.976 | 4.58
| media | 3.024
| desviacion estandar | 2.123
| d2 | 4.246 | -4.246
| d3 | 6.3689 | -6.3689

## Hoja3 (hidden)
valor | distr | media | 2.6852
0.56 | 0.061688 | desviacion | 1.1409
1.1 | 0.13318
1.36 | 0.1781
2 | 0.29196
2.25 | 0.32512
2.254 | 0.32556
2.26 | 0.3262
2.47 | 0.3435
2.78 | 0.34846
3 | 0.33661
3.25 | 0.30935
3.27 | 0.30663
3.34 | 0.29658
4.16 | 0.15165
4.33 | 0.1237
4.58 | 0.088059